○

○

○

○

●

●

EOW

EOW

Standard Symbol

| Definition and Purpose | Procedures for the proper use, storage, and disposal of materials and equipment on barges, boats, temporary construction pads, or similar locations that minimize or eliminate the discharge of potential pollutants to a watercourse. |
| --- | --- |
| Appropriate Applications | These procedures shall be implemented for construction materials and wastes (solid and liquid) and any other materials that may be detrimental if released. Applies where materials and equipment are used on barges, boats, docks, and other platforms over or adjacent to a watercourse. |
| Limitations | - None identified. |
| Standards and Specifications | - Refer to BMPs WM-1, “Material Delivery and Storage” and WM-4, “Spill Prevention and Control.” - Use drip pans and absorbent materials for equipment and vehicles and ensure that an adequate supply of spill cleanup materials is available. - Drip pans shall be placed under all vehicles and equipment placed on docks, barges, or other structures over water bodies when the vehicle or equipment is expected to be idle for more than one hour. - Maintain equipment in accordance with BMP NS-10, “Vehicle and Equipment Maintenance.” If a leaking line cannot be repaired, remove equipment from over the water. - Provide watertight curbs or toe boards to contain spills and prevent materials, tools, and debris from leaving the barge, platform, dock, etc. - Secure all materials to prevent discharges to receiving waters via wind. - Identify types of spill control measures to be employed, including the storage of such materials and equipment. Ensure that staff are trained regarding the deployment and access of control measures and that measures are being used. - Ensure the timely and proper removal of accumulated wastes. Refer to BMPs WM-5, “Solid Waste Management” (non-hazardous) and WM-6, “Hazardous Waste Management.” - Comply with all necessary permits required for construction within or near the watercourse, such as RWQCB, U.S. Army Corps of Engineers, Department of Fish and Game and other local permitting agencies. - Discharges to waterways shall be reported to the RE immediately upon discovery. A written discharge notification must follow within 7 days. - Refer to BMP NS-15, “Structure Demolition/Removal Over or Adjacent to Water.” |
| Maintenance and Inspection | - Inspect equipment for leaks and spills on a daily basis, and make necessary repairs. - Ensure that employees and subcontractors implement appropriate measures for storage and use of materials and equipment. - Inspect and maintain all associated BMPs and perimeter controls to ensure continuous protection of the watercourse. |