○

○

○

○

●

●

SDR

SDR

Standard Symbol

| Definition and Purpose | Procedures to protect water bodies from debris and wastes associated with structure demolition or removal over or adjacent to watercourses. |
| --- | --- |
| Appropriate Applications | Full bridge demolition and removal, partial bridge removal (e.g., barrier rail, edge of deck) associated with bridge widening projects, concrete channel removal, or any other structure removal that could potentially affect water quality. |
| Limitations | - Specific permit requirements may be included in the contract documents. |
| Standards and Specifications | - Do not allow demolished material to enter waterway. - Refer to BMP NS-5, “Clear Water Diversion” to direct water away from work areas. - Use attachments on construction equipment such as backhoes to catch debris from small demolition operations. - Use covers or platforms to collect debris. - Platforms and covers are to be approved by the RE. - Stockpile accumulated debris and waste generated during demolition away from watercourses and in accordance with BMP WM-3, “Stockpile Management.” - Ensure safe passage of wildlife, as necessary. - Discharges to waterways shall be reported to the RE immediately upon discovery. A written discharge notification must follow within 7 days. - For structures containing hazardous materials (e.g., lead paint or asbestos) refer to BMP WM-6, “Hazardous Waste Management.” For demolition work involving soil excavation around lead-painted structures, refer to BMP WM-7, “Contaminated Soil Management.” |
| Maintenance and Inspection | - Contractor must inspect demolition areas over or near adjacent watercourses on a daily basis. - Any debris-catching devices shall be emptied regularly. Collected debris shall be removed and stored away from the watercourse and protected from run-on and runoff. |