| Standard Symbol Definition and ● ○ ○ ● ○ ○ Purpose | Hydroseeding typically consists of applying a mixture of wood fiber, seed, fertilizer, and stabilizing emulsion with hydro-mulch equipment, which temporarily protects exposed soils from erosion by water and wind. This is one of five temporary soil stabilization alternatives to consider. |
| --- | --- |
| Appropriate Applications | - Hydroseeding is applied on disturbed soil areas requiring temporary protection until permanent vegetation is established or disturbed soil areas that must be re-disturbed following an extended period of inactivity. |
| Limitations | - Hydroseeding may be used alone only when there is sufficient time in the season to ensure adequate vegetation establishment and erosion control. Otherwise, hydroseeding must be used in conjunction with a soil binder or mulching (i.e., straw mulch), refer to BMP SS-5, Table 1 for options. - Steep slopes are difficult to protect with temporary seeding. - Temporary seeding may not be appropriate in dry periods without supplemental irrigation. - Temporary vegetation may have to be removed before permanent vegetation is applied. - Temporary vegetation is not appropriate for short-term inactivity. |
| Standards and Specifications | To select appropriate hydroseeding mixtures, an evaluation of site conditions shall be performed with respect to: - – Soil conditions – Maintenance requirements - – Site topography – Sensitive adjacent areas - – Season and climate – Water availability - – Vegetation types – Plans for permanent vegetation - Selection of hydroseeding mixtures shall be approved by the District Landscape Architect and the Construction Storm Water Coordinator. The following steps shall be followed for implementation: - Seed mix shall comply with the Standard Specifications Section 20-2.10, and the project’s special provisions. - Hydroseeding can be accomplished using a multiple-step or one-step process; refer to the special provisions for specified process. The multiple-step process ensures maximum direct contact of the seeds to soil. When the one-step process is used to apply the mixture of fiber, seed, etc., the seed rate shall be increased to compensate for all seeds not having direct contact with the soil. - Prior to application, roughen the slope, fill area, or area to be seeded with the furrows trending along the contours. Rolling with a crimping or punching type roller or track walking is required on all slopes prior to hydroseeding. Track walking shall only be used where other methods are impractical. - Apply a straw mulch to keep seeds in place and to moderate soil moisture and temperature until the seeds germinate and grow, refer to Standard Specifications Sections 20-2.06 and 20-3.03. - All seeds shall be in conformance with the California State Seed Law of the Department of Agriculture. Each seed bag shall be delivered to the site sealed and clearly marked as to species, purity, percent germination, dealer’s guarantee, and dates of test; provide the Resident Engineer (RE) with such documentation. The container shall be labeled to clearly reflect the amount of Pure Live Seed (PLS) contained. All legume seed shall be pellet-inoculated. Inoculant sources shall be species-specific and shall be applied at a rate of 2 kg of inoculant per 100 kg of seed (2-lb inoculant per 100-lb seed), refer to Standard Specifications Section 20-2.10. - Commercial fertilizer shall conform to the requirements of the California Food and Agricultural Code. Fertilizer shall be pelleted or granular form. - Follow-up applications shall be made as needed to cover weak spots, and to maintain adequate soil protection. - Avoid over-spray onto the traveled way, sidewalks, lined drainage channels, and existing vegetation. |
| Maintenance and Inspection | - All seeded areas shall be inspected for failures and re-seeded, fertilized, and mulched within the planting season, using not less than half the original application rates. Any temporary revegetation efforts that do not provide adequate cover must be reapplied at a scheduled recommended by the Caltrans Landscape Architect or RE. - After any rainfall event, the Contractor is responsible for maintaining all slopes to prevent erosion. |