| ● ○ ○ ● ○ ○ Standard Symbol Definition and Purpose | Wood mulching consist of applying a mixture of shredded wood mulch, bark or compost. Wood mulch is mostly applicable to landscape projects. The primary function of wood mulching is to reduce erosion by protecting bare soil from rainfall impact, increasing infiltration, and reducing runoff. |
| --- | --- |
| Appropriate Applications | Wood mulching is considered a temporary soil stabilization (erosion control) alternative in the following situations: - As a stand-alone temporary surface cover on disturbed areas until soils can be prepared for revegetation and permanent vegetative cover can be established. - As short term, non-vegetative ground cover on slopes to reduce rainfall impact, decrease the velocity of sheet flow, settle out sediment and reduce wind erosion. |
| Limitations | - Wood mulch may introduce unwanted species. - Shredded wood does not withstand concentrated flows and is prone to sheet erosion. - Green material has the potential for the presence of unwanted weeds and other plant materials. Delivery system is primarily by manual labor, although pneumatic application equipment is available. |
| Standards and Specifications | Mulch Selection There are many types of mulches, and selection of the appropriate type shall be based on the type of application and site conditions. Prior to use of wood mulches, there shall be concurrence with the District Landscape Architect since some mulch use on construction projects may not be compatible with planned or future projects. Selection of wood mulches by the Contractor shall comply with Standard Specifications Section 20-2.08, and must be approved by the Resident Engineer (RE). Application Procedures Prior to application, after existing vegetation has been removed, roughen embankment and fill areas by rolling with a punching-type roller or by track walking. The construction-application procedures for mulches vary significantly depending upon the type of mulching method specified. Two (2) methods are highlighted here: - Green Material: This type of mulch is produced by recycling vegetation trimmings such as grass, shredded shrubs and trees. Methods of application are generally by hand, although pneumatic methods are available. Mulch shall be composted to kill weed seeds. - It can be used as a temporary ground cover with or without seeding. - The green material shall be evenly distributed on site to a depth of not more than 50 mm (2 in). - Shredded Wood: Suitable for ground cover in ornamental or revegetated plantings. - Shredded wood/bark is conditionally suitable; see note under limitations. - Shall be distributed by hand (although pneumatic methods may be available). - The mulch shall be evenly distributed across the soil surface to a depth of 50 mm (2 in) to 75 mm (3 in). - Avoid mulch placement onto the traveled way, sidewalks, lined drainage channels, sound walls, and existing vegetation. - All material must be removed before re-starting work on the slopes. |
| Maintenance and Inspection | - Regardless of the mulching technique selected, the key consideration in Maintenance and Inspection is that the mulch needs to last long enough to achieve erosion-control objectives. If the mulch is applied as a stand-alone erosion control method over disturbed areas (without seed), it shall last the length of time the site will remain barren or until final re-grading and revegetation. - Where vegetation is not the ultimate cover, such as ornamental and landscape applications of bark or wood chips, inspection and maintenance shall focus on longevity and integrity of the mulch. |