| ○ ○ ○ ○ ● ● Standard Symbol Definition and Purpose | These are procedures and practices to minimize or eliminate the discharge of pollutants from construction site hazardous waste to the storm drain systems or to watercourses. |
| --- | --- |
| Appropriate Applications | - This best management practice (BMP) applies to all construction projects. - Hazardous waste management practices are implemented on construction projects that generate waste from the use of: - Petroleum Products, - Asphalt Products, - Concrete Curing Compounds, - Pesticides, - Acids, - Paints, - Stains, - Solvents, - Wood Preservatives, - Roofing Tar, or - Any materials deemed a hazardous waste in California, Title 22 Division 4.5, or listed in 40 CFR Parts 110, 117, 261, or 302. |
| Limitations | - Nothing in this BMP relieves the Contractor from responsibility for compliance with federal, state, and local laws regarding storage, handling, transportation, and disposal of hazardous wastes. - This BMP does not cover aerially deposited lead (ADL) soils. For ADL soils refer to BMP WM-7, “Contaminated Soil Management,” and the project special provisions. |
| Standards and Specifications | Education - Educate employees and subcontractors on hazardous waste storage and disposal procedures. - Educate employees and subcontractors on potential dangers to humans and the environment from hazardous wastes. - Instruct employees and subcontractors on safety procedures for common construction site hazardous wastes. - Instruct employees and subcontractors in identification of hazardous and solid waste. - Hold regular meetings to discuss and reinforce hazardous waste management procedures (incorporate into regular safety meetings). - The Contractor’s Water Pollution Control Manager (WPCM) shall oversee and enforce proper hazardous waste management procedures and practices. - Make sure that hazardous waste is collected, removed, and disposed of only at authorized disposal areas. Storage Procedures - Wastes shall be stored in sealed containers constructed of a suitable material and shall be labeled as required by Title 22 CCR, Division 4.5 and 49 CFR Parts 172,173, 178, and 179. - All hazardous waste shall be stored, transported, and disposed as required in Title 22 CCR, Division 4.5 and 49 CFR 261-263. - Waste containers shall be stored in temporary containment facilities that shall comply with the following requirements: - Temporary containment facility shall provide for a spill containment volume able to contain precipitation from a 24-hour, 25 year storm event, plus the greater of 10% of the aggregate volume of all containers or 100% of the capacity of the largest tank within its boundary, whichever is greater. - Temporary containment facility shall be impervious to the materials stored there for a minimum contact time of 72 hours. - Temporary containment facilities shall be maintained free of accumulated rainwater and spills. In the event of spills or leaks accumulated rainwater and spills shall be placed into drums after each rainfall. These liquids shall be handled as a hazardous waste unless testing determines them to be non-hazardous. Non-hazardous liquids shall be sent to an approved disposal site. - Sufficient separation shall be provided between stored containers to allow for spill cleanup and emergency response access. - Incompatible materials, such as chlorine and ammonia, shall not be stored in the same temporary containment facility. - Throughout the rainy season, temporary containment facilities shall be covered during non-working days, and prior to rain events. Covered facilities may include use of plastic tarps for small facilities or constructed roofs with overhangs. A storage facility having a solid cover and sides is preferred to a temporary tarp. Storage facilities shall be equipped with adequate ventilation. - Drums shall not be overfilled and wastes shall not be mixed. - Unless watertight, containers of dry waste shall be stored on pallets. - Paint brushes and equipment for water and oil based paints shall be cleaned within a contained area and shall not be allowed to contaminate site soils, watercourses or drainage systems. Waste paints, thinners, solvents, residues, and sludges that cannot be recycled or reused shall be disposed of as hazardous waste. When thoroughly dry, latex paint and paint cans, used brushes, rags, absorbent materials, and drop cloths shall be disposed of as solid waste. - Ensure that adequate hazardous waste storage volume is available. - Ensure that hazardous waste collection containers are conveniently located. - Designate hazardous waste storage areas on site away from storm drains or watercourses and away from moving vehicles and equipment to prevent accidental spills. - Minimize production or generation of hazardous materials and hazardous waste on the job site. - Use containment berms in fueling and maintenance areas and where the potential for spills is high. - Segregate potentially hazardous waste from non-hazardous construction site debris. - Keep liquid or semi-liquid hazardous waste in appropriate containers (closed drums or similar) and under cover. - Clearly label all hazardous waste containers with the waste being stored and the date of accumulation. - Place hazardous waste containers in secondary containment. - Do not allow potentially hazardous waste materials to accumulate on the ground. - Do not mix wastes. Disposal Procedures - Waste shall be disposed of outside the highway right-of-way within 90 days of being generated, or as directed by the Resident Engineer (RE). In no case shall hazardous waste storage exceed requirements in Title 22 CCR, Section 66262.34. - Waste shall be disposed of by a licensed hazardous waste transporter at an authorized and licensed disposal facility or recycling facility utilizing properly completed Uniform Hazardous Waste Manifest forms. - A Department of Health Services (DHS) certified laboratory shall sample waste and classify it to determine the appropriate disposal facility. - Make sure that toxic liquid wastes (e.g., used oils, solvents, and paints) and chemicals (e.g., acids, pesticides, additives, curing compounds) are not disposed of in dumpsters designated for solid waste construction debris. - Properly dispose of rainwater in secondary containment that may have mixed with hazardous waste. - Recycle any useful material such as used oil or water-based paint when practical. - Attention is directed to "Hazardous Material", "Contaminated Material", and "Aerially Deposited Lead" of the contract documents regarding the handling and disposal of hazardous materials. |
| Maintenance and Inspection | - A foreman and/or construction supervisor shall monitor on-site hazardous waste storage and disposal procedures. - Waste storage areas shall be kept clean, well organized, and equipped with ample clean-up supplies as appropriate for the materials being stored. - Storage areas shall be inspected in conformance with the provisions in the contract documents. - Perimeter controls, containment structures, covers, and liners shall be repaired or replaced as needed to maintain proper function. - Hazardous spills shall be cleaned up and reported in conformance with the applicable Material Safety Data Sheet (MSDS) and the instructions posted at the project site. - The National Response Center, at (800) 424-8802, shall be notified of spills of Federal reportable quantities in conformance with the requirements in 40 CFR parts 110, 117, and 302. - Copy of the hazardous waste manifests shall be provided to the RE. |