| ○ ○ ○ ○ ● ● Standard Symbol Definition and Purpose | Procedures and practices to minimize or eliminate the discharge of construction site sanitary/septic waste materials to the storm drain system or to watercourses. |
| --- | --- |
| Appropriate Applications | Sanitary/septic waste management practices are implemented on all construction sites that use temporary or portable sanitary/septic waste systems. |
| Limitations | - None identified. |
| Standards and Specifications | Education - Educate employees, subcontractors, and suppliers on sanitary/septic waste storage and disposal procedures. - Educate employees, subcontractors, and suppliers of potential dangers to humans and the environment from sanitary/septic wastes. - Instruct employees, subcontractors, and suppliers in identification of sanitary/septic waste. - Hold regular meetings to discuss and reinforce disposal procedures (incorporate into regular safety meetings). - Establish a continuing education program to indoctrinate new employees. Storage and Disposal Procedures - Temporary sanitary facilities shall be located away from drainage facilities, watercourses, and from traffic circulation. When subjected to high winds or risk. - Wastewater shall not be discharged or buried within the highway right-of-way. - Sanitary and septic systems that discharge directly into sanitary sewer systems, where permissible, shall comply with the local health agency, city, county, and sewer district requirements. - If using an on site disposal system, such as a septic system, comply with local health agency requirements. - Properly connect temporary sanitary facilities that discharge to the sanitary sewer system to avoid illicit discharges. - Ensure that sanitary/septic facilities are maintained in good working order by a licensed service. - Use only reputable, licensed sanitary/septic waste haulers. |
| Maintenance and Inspection | - The Contractor’s Water Pollution Control Manager (WPCM) shall monitor onsite sanitary/septic waste storage and disposal procedures at least weekly. |